## A5369 LPK Processing Sheet
REAGENTS | Lot Number | Exp. Date | OPENED/ | VISUAL QC | TECH INITIALS:
|  |  | THAWED DATE | OK | PROCESS DATE:
HBSS |  |  | / / | YES or NO | SITE:
Ficoll |  |  | / / | YES or NO
Trypan Blue |  |  | / / | YES or NO
DMSO |  |  | / / | YES or NO
FBS |  |  | / / | YES or NO
| PID: |  |  | # OF CELLS/mL: | x 106
PROTOCOL: |  |  |  | # OF CELLS/mL: -10% | x 106 | <<<<
ADDITIVE: | EDT / HEP / ACD
Leukopak VOL: | mL |  |  | 4 Mr. Frosties = 72 vials
Anticoagulant VOL (If avail.): | mL |  |  | Remnent to freeze = 87-72 = 15 vials
PROCESSING
START TIME: | : |  |  | Cells for 1 Mr. Frosty: (18 vials + 1 = 19 vials) |  | 19mL CPS
FICOLL TIME: | : |  |  | 50 x 106 per vial | 950 x106 cells
FREEZING TIME(**): | Time of Last Mr. Frosty in freezer |  |  | 950 x106 cells / __________ <<<< | mL | X4
MR. FROSTY #/THAW #: | see right side
Remnent to freeze = 85-72 = 13 vials
CELL COUNT
COUNT VOLUME: | mL |  |  | Cells for last Mr. Frosty: (13 vials + 1 = 14 vials) |  | 16mL CPS
Trypan Blue Dilution |  |  |  | 50 x 106 per vial | 700 x106 cells
Tech Initial: |  |  |  | 700 x106 cells / __________ <<<< | mL
Sq.#1 (alive/dead): | / | /
Sq.#2 (alive/dead): | / | /
Sq.#3 (alive/dead): | / | /
Sq.#4 (alive/dead): | / | / |  | MR. FROSTY # /THAW #: | Tech | Global Spec ID | Time Frozen
TOTAL (alive/dead): | / | / |  | / |  | -
Average |  |  |  | / |  | -
# OF CELLS/mL: | x 106 |  |  | / |  | -
TOTAL # OF cells (alive) | x 106 |  |  | / |  | -
VIABILITY %: |  |  |  | / |  | - | (**)
# VIALS- # OF CELLS | 85 vials @ 50x10^6 | [5 empty] | Guide, vials#
PER VIAL NEEDED: |  |  |  | **Freezing Time in LDMS is freezing time of the last Mr Frosty |  |  | 01-18
19-36
Prepare 100mL CPS: 90mL FBS + 10mL DMSO | [6 empty] | 37-54
56-72
73-85