## L01 Protocol Sheet
Flow Cytometry Protocol Sheet L01 - BD LSR II RP1 105 919-684-4130
Please Schedule Job in CoreResearch, Paste Reservation ID below, and email Protocol Sheet to dhviflo@dm.duke.edu
REQUIRED:
Reservation ID
Registered Lab PI/EndUser: | [7 empty] | # of Events/Cells to Record: |  |  |  |  | Please acknowledge the DHVI Flow Facility in abstracts and publications: “Flow cytometry was performed in the Duke Human Vaccine Institute Research Flow Cytometry Shared Resource Facility (Durham, NC).”
End UserTelephone/Email: | [7 empty] | Record Gate:
Hazard Review: | [7 empty] | Duke Box Data Folder:
Hazard Assessment Number:
Assigned BSL Containment Level:
Cell Type:
Cell Line Name (if applicable):
Sample Prep Date:
Comments:
OPTIONAL: | Laser | Violet, 405 nm, 50 mW | [7 empty] | Blue, 488 nm, 20 mW |  | Green, 532 nm, 150 mW |  |  |  |  | Red, 639 nm, 70 mW
| Filter | V-450_50 | V-505LP_515_20 | V-555LP_560_40 | V-590LP_610_20 | V-635LP_670_30 | V-695LP_710_50 | V-710LP_740_20 | V-750LP_780_60 | B-495LP_525_50 | B-685LP_695_40 | G-575_26 | G-595LP_610_20 | G-655LP_660_20 | G-695LP_710_50 | G-735LP_780_60 | R-670_30 | R-690LP_730_45 | R-735LP_780_60
Expt PMT Voltage
| Common Fluor(s) | BV421 | BV510 | BV570 | BV605 | BV650 | BV711 | BV745 | BV786 | FITC | PerCP-Cy5.5 | PE | PE-TxRed | PE-Cy5 | PE-Cy5.5 | PE-Cy7 | APC | APC-Cy5.5 | APC-Cy7
REQUIRED: Insert additional rows as needed for more tubes. Number consecutively.
Sample ID | Tube # | Please enter the name of the actual Fluors you are using
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Facility Operator Use:
| Acquisition Date | Start Time | End Time | Hours | Operator Initials | Add. Operator | Additional Hours | Initials | Total Hours | Scheduled Time
|  |  | TOTAL | 0 |  |  | 0 |  | 0

## L01 Configuration
L01: BD LSRII
Location: RP 105
Laser | PMT | Mirror | Filter | Parameter | Other Fluorochromes | Fluorescent Proteins | Proliferation Dyes | Cell Cycle Dyes | Viability Dyes
Violet | H |  | 450/50 | BV421 | DAPI ¦ Pacific Blue ¦ BV450 ¦efluor450 ¦ AF405 ¦ VioBlue | BFP ¦ Azurite | CellTrace Violet | DyeCycle Violet | L/D Fix Violet ¦ Zombie Violet ¦ Sytox Blue
405 nm | G | 505LP | 515/20 | BV510 | AF 430 ¦ AmCyan ¦ Pacific Green ¦ Qdot 525 ¦ V500 ¦ VioGreen | CFP ¦ Cerulean |  |  | L/D Fix Aqua ¦ Zombie Aqua
(50 mW) | F | 555LP | 560/40 | BV570 | Qdot 565 ¦ Qdot 585 ¦ Pacific Orange |  |  |  | L/D Fix Yellow
| E | 595LP | 610/20 | BV605 | Qdot 605 ¦ DyLight 405 LS ¦ eFluor 605NC ¦ eVolve 605
| D | 635LP | 670/30 | BV650 | Qdot 655 ¦ SuperBright 645 ¦ eFluor 650NC ¦ eVolve 655
| C | 695LP | 710/50 | BV711 | Qdot 705 ¦ SuperBright 702
| B | 710LP | 740/20 | BV745 | BV750
| A | 750LP | 780/60 | BV785 | Qdot 800
Blue | FSC |  |  | FSC
488 nm | C |  | 488/10 | SSC
(20 mW) | B | 495LP | 525/50 | FITC | BB515 ¦ AF488 ¦ Qdot 525 ¦ Cy2 ¦ DyLight488 ¦ VB515 | GFP ¦ YFP ¦ Emerald | CFSE | DyeCycle Green | L/D Fix Green ¦ Zombie Green ¦ Sytox Green
| A | 685LP | 695/40 | PerCP-Cy5.5 | PerCP-E710 ¦ BB700 ¦ PerCP-Vio700
Green | E |  | 575/26 | PE | BYG584 ¦ BYG568 ¦ AF 514 ¦ AF 555 ¦ eFluor 570 ¦ Cy3 ¦ RFP | dsRed ¦ TdTomato | CellTrace Yellow | DyeCycle Orange | L/D Fix Red ¦ Zombie Red ¦ Sytox Orange
532 nm | D | 595LP | 610/20 | PE-Texas Red | PE-CF594 ¦ ECD¦ PE-eFluor 610 ¦ Texas Red ¦ AF 568 | mCherry
(150 mW) | C | 655LP | 660/20 | PE-CY5 | BYG670 | mPlum ¦ E2-Crimson |  | PI ¦ 7-AAD | PI ¦ 7-AAD
| B | 695LP | 710/50 | PE-CY5.5 | PE-AF700
| A | 735LP | 780/60 | PE-CY7 | PE-Vio770
Red | C |  | 670/30 | APC | AF633 ¦ AF635 ¦ AF647 ¦ AF680 ¦ Cy5 ¦ Cy5.5 ¦ DyLight 633 |  | CellTrace Far Red | DyeCycle Ruby | L/D Fix Far Red
639 nm | B | 690LP | 730/45 | APC-Cy5.5 | AF700 ¦ APC-R700 |  |  |  | Fixable Viability 700
(70 mW) | A | 735LP | 780/60 | APC-CY7 | APC-H7 ¦ APC-Fire750 ¦ APC-eFluor 780 ¦ AF750 ¦ Cy7 |  |  |  | L/D Fix Near-IR ¦ Zombie NIR