## P01 Protocol Sheet
Flow Cytometry Protocol Sheet P01 - BD FACSymphony A5 RTP 2104 919-684-4130
Please Schedule Job in CoreResearch, Paste Reservation ID below, and email Protocol Sheet to dhviflo@dm.duke.edu
REQUIRED:
Reservation ID
Registered Lab PI/EndUser: | [7 empty] | # of Events/Cells to Record: |  |  |  |  | Please acknowledge the DHVI Flow Facility in abstracts and publications: “Flow cytometry was performed in the Duke Human Vaccine Institute Research Flow Cytometry Shared Resource Facility (Durham, NC).”
End UserTelephone/Email: | [7 empty] | Record Gate:
Hazard Review: | [7 empty] | Duke Box Data Folder:
Hazard Assessment Number:
Assigned BSL Containment Level:
Cell Type:
Cell Line Name (if applicable):
Sample Prep Date:
Comments:
OPTIONAL: | Laser | Ultraviolet, 355 nm, 65 mW | [6 empty] | Violet, 402 nm, 200 mW | [7 empty] | Blue, 488 nm, 200 mW | [5 empty] | Green, 561 nm, 150 mW |  |  |  |  | Red, 638 nm, 150 mW
| Filter | UV-405LP_379_28 | UV-450LP_515_30 | UV-550LP_586_15 | UV-600LP_610_20 | UV-635LP_670_30 | UV-690LP_740_35 | UV-770LP_820_60 | V-410LP_431_28 | V-450LP_470_15 | V-550LP_586_15 | V-600LP_610_20 | V-635LP_670_30 | V-690LP_710_50 | V-710LP_740_35 | V-750LP_780_60 | B-505LP_515_20 | B-600LP_610_20 | B-635LP_670_30 | B-690LP_710_50 | B-730LP_750_30 | B-770LP_780_60 | G-570LP_586_15 | G-600LP_610_20 | G-650LP_670_30 | G-690LP_710_50 | G-750LP_780_60 | R-650LP_670_30 | R-690LP_710_50 | R-750LP_780_60
Expt PMT Voltage
| Common Fluor(s) | BUV396 | BUV496 | BUV563 | BUV615 | BUV661 | BUV737 | BUV805 | BV421 | BV480 | BV570 | BV605 | BV650 | BV711 | BV750 | BV786 | BB515 | BB630 | BB660 | BB700 | BB750 | BB790 | PE | PE-CF594 | PE-Cy5 | PE-Cy5.5 | PE-Cy7 | APC | APC-Cy5.5 | APC-Cy7
REQUIRED: Insert additional rows as needed for more tubes. Number consecutively.
Sample ID | Tube # | Please enter the name of the actual Fluors you are using
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Facility Operator Use:
| Acquisition Date | Start Time | End Time | Hours | Operator Initials | Add. Operator | Additional Hours | Initials | Total Hours | Scheduled Time
|  |  | TOTAL | 0 |  |  | 0 |  | 0
Sheath Pressure (psi) | Nozzle Size (µM) | Nozzle Number | Drop 1 | Gap | Frequency (kHz) | Amplitude | Drop Delay | Sort Setup (e.g. 1-4 way, 5 or 15mL tubes, 96-well plate etc) | Sort Precision Mode (Single Cell_PH2, Purity, Yield, etc.) | Index Sorting | Notes:

## P01 Configuration
P01: BD FACSymphony™ A5 Cell Analyzer
Location: RTP 2104
Laser | PMT | Mirror | Filter | Parameter | Other Fluorochromes | Fluorescent Proteins | Proliferation Dyes | Cell Cycle Dyes | Viability Dyes
UV | G |  | 379/28 | BUV396 | BUV380
355 nm | F | 450LP | 515/30 | BUV496 |  |  |  |  | Hoechst Blue
(65 mW) | E | 550LP | 586/15 | BUV563
| D | 600LP | 610/20 | BUV615
| C | 635LP | 670/30 | BUV661 |  |  |  |  | Hoechst Red
| B | 690LP | 740/35 | BUV737
| A | 770LP | 820/60 | BUV805
Violet | H | 410LP | 431/28 | BV421 | DAPI ¦ Pacific Blue ¦ BV450 ¦efluor450 ¦ AF405 ¦ VioBlue | BFP ¦ Azurite | CellTrace Violet | DyeCycle Violet | L/D Fix Violet ¦ Zombie Violet ¦ Sytox Blue
404 nm | G | 450LP | 470/15 | BV480 | AF 430 ¦ AmCyan ¦ Pacific Green ¦ Qdot 525 ¦ V500 ¦ VioGreen | CFP ¦ Cerulean |  |  | L/D Fix Aqua ¦ Zombie Aqua
(200 mW) | F | 550LP | 586/15 | BV570 | Qdot 565 ¦ Qdot 585 ¦ Pacific Orange |  |  |  | L/D Fix Yellow
| E | 600LP | 610/20 | BV605 | Qdot 605 ¦ DyLight 405 LS ¦ eFluor 605NC ¦ eVolve 605
| D | 635LP | 670/30 | BV650 | Qdot 655 ¦ SuperBright 645 ¦ eFluor 650NC ¦ eVolve 655
| C | 690LP | 710/50 | BV711 | Qdot 705 ¦ SuperBright 702
| B | 710LP | 740/35 | BV750
| A | 750LP | 780/60 | BV786 | Qdot 800
Blue | FSC |  |  | FSC
488 nm | G |  | 488/10 | SSC
(200 mW) | F | 505LP | 515/20 | BB515 | FITC ¦ AF488 ¦ Qdot 525 ¦ Cy2 ¦ DyLight488 ¦ VB515 | GFP ¦ YFP ¦ Emerald | CFSE | DyeCycle Green | L/D Fix Green ¦ Zombie Green ¦ Sytox Green
| E | 600LP | 610/20 | BB630 | PE-eFluor610 | mCitrine
| D | 635LP | 670/30 | BB660 | PerCP
| C | 690LP | 710/50 | BB700 | PerCP-E710 ¦ PerCP-Cy5.5 ¦ PerCP-Vio700
| B | 730LP | 750/30 | BB750 | BB755
| A | 770LP | 780/60 | BB790
Green | E | 570LP | 586/15 | PE | BYG584 ¦ BYG568 ¦ AF 514 ¦ AF 555 ¦ eFluor 570 ¦ Cy3 ¦ RFP | dsRed ¦ TdTomato | CellTrace Yellow | DyeCycle Orange | L/D Fix Red ¦ Zombie Red ¦ Sytox Orange
561 nm | D | 600LP | 610/20 | PE-CF594 | PE-Texas Red ¦ ECD¦ PE-eFluor 610 ¦ Texas Red ¦ AF 568 | mCherry
(100 mW) | C | 650LP | 670/30 | PE-CY5 | BYG670 | mPlum ¦ E2-Crimson |  | PI ¦ 7-AAD | PI ¦ 7-AAD
| B | 690LP | 710/50 | PE-CY5.5 | PE-AF700
| A | 750LP | 780/60 | PE-CY7 | PE-Vio770
Red | C | 650LP | 670/30 | APC 650 | APC 650 ¦ AF633 ¦ AF635 ¦ AF647 ¦ AF680 ¦ Cy5.5 ¦ DyLight 633 |  | CellTrace Far Red | DyeCycle Ruby | L/D Fix Far Red
637 nm | B | 690LP | 710/50 | APC-CY5-5 | AF700 ¦ APC 650 ¦ APC-R700 |  |  |  | Fixable Viability 700
(140 mW) | A | 750LP | 780/60 | APC-CY7 | APC-H7 ¦ APC-Fire750 ¦ APC-eFluor 780 ¦ AF750 ¦ Cy7 |  |  |  | L/D Fix Near-IR ¦ Zombie NIR