| IQA |  |  |  |  | General Investigation Checklist/Form |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Survey Information – External Quality Assurance (EQA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Please complete the report and submit it to IQA within 30 days. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site/Laboratory Name: |  |  |  |  |  |  |  | EQA Provider and #: |  |  |  |  |  |  |  |  |
| Survey Name: |  |  |  |  |  |  |  | Analyzer Name/Model: |  |  |  |  |  |  |  |  |
| Date Survey Received: |  |  |  |  |  |  | Date Analysis Performed: |  |  |  |  |  |  |  |  |  |
| Date Survey Results Submitted: |  |  |  |  |  |  | Date Evaluations Available: |  |  |  |  |  |  |  |  |  |
| Previous Survey Problems (If yes, explain): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Investigation Performed By: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |
| Unacceptable EQA Panel: Date of Repeat testing: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Specimen Number |  | Analyte |  |  |  | Reported Result |  | Repeated Result |  | Intended Result/Peer Group |  |  |  |  |  |  |
| Root Cause Analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pre-Analytical errors: |  |  |  |  |  |  |  |  |  |  |  |  | YES |  | NO | N/A |
| 1. Were proficiency testing materials received in the laboratory without delay? If delayed, please describe the issues. Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Were specimens shipped and stored appropriately according to temperature requirements? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Were there any broken or leaking EQA vials/material received by the lab? Were any vials missing? If so, did you contact the provider and SMILE? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Were specimens prepared/ reconstituted /diluted as indicated by the kit instructions? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Were special instructions provided in the kit followed? (Can be indicated by this symbol ) Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Were the correct tests performed on the correct specimen(s)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Was routine maintenance of instruments/equipment performed? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Were checks of kits/reagents/materials performed before sample testing (lot numbers, storage conditions, etc.)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Were expiration dates verified before sample testing (Controls, reagents, etc.)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Analytical Errors: |  |  |  |  |  |  |  |  |  |  |  |  | YES |  | NO | N/A |
| 1. Was any bias, shift or trend noted on past/current EQA events? If yes, were any investigations performed and what were the outcomes? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Were any instrument/test problems noted prior to or after EQA event? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Was the calibration at the time of the EQA event reviewed for acceptability? If not acceptable, comment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. How do you establish your Quality Control (QC) mean and ranges? Comments: Lab established Use manufacturer’s |  |  |  |  |  |  |  |  |  |  |  |  | Not applicable |  |  |  |
| 5. Were all QC levels for this analyte within acceptable range(s) on day the survey was run? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Are Westgard QC rules used? If so which ones? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Were QC/Levy Jennings charts reviewed for any trends, shifts and/or bias? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Does your laboratory track precision by monitoring Coefficient of Variation (CV) for this analyte? If yes, was your CV acceptable at the time of the survey? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. If manual calculation was performed for this analyte was it checked for accuracy? (dilutions, formula) Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Was instrument or reagent manufacturer contacted? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Are questionable results reviewed by supervisor/pathologist before reporting? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post Analytical Errors: |  |  |  |  |  |  |  |  |  |  |  |  | YES | NO |  | N/A |
| 1. Were the results correctly transcribed from the instrument print-out/ worksheets to the EQA Result Form? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Did the completed EQA Result Form match the electronic results submitted? If no, how do you assure the accuracy of transcribed results? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Were the correct instrument/method/reagent reported on the EQA Result Form? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Were the correct units reported? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Were results reported with correct decimal place? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Were your results graded in the appropriate peer group? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Were your intended result code(s) selected for photographic images and microscopic examination? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Investigative Actions and Root Cause: Briefly discuss what actions were taken in this investigation and what you believe is the primary cause of this EQA problem. Was Personnel training/competency reviewed? Staff education or re-training conducted, as appropriate? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of Error: Methodological; Survey evaluation problem. Technical; Other (explain). Clerical. |
| Study Impact: Were study participant results assessed for adverse effects? If applicable, review participant results, amend results and notify the following---physicians, study staff and network representatives. Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Future Preventative Measures/ Actions: Briefly discuss how you will prevent this problem from occurring in the future. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For IQA use. IQA Review:; Acceptable and complete Investigation.; Investigation is incomplete. See comments.. Comments:. Name/Title: Date:. |

Table for supporting documents:

| Attachment# | Description of attachments |
| --- | --- |